Processing whole blood in Smart Tubes

- Label Smart Tubes appropriately. Label the side of the tube with a marker and affix a pre-made label to the other side. Secure pre-made label with clear tape to ensure it does not fall off during cryogenic storage.

- Prepare stimulations. Stimulations should be prepared before phlebotomy to avoid delays once the blood is drawn. If diluted stimulations won’t be used within one hour of preparation, store them at 4°C until ready to use.

  - Unstim (3 replicates): 40μL PBS + 360μL RPMI (makes enough for 4 tubes)

  - LPS [InvivoGen catalog # tlrl-peklps]: 1.1μl (1mg/mL stock) + 109μL RPMI

  - IFNα [Sigma-Aldrich catalog # I4276]: 11μL (10μg/mL stock) + 99μL RPMI

  - IL-2 [BD Biosciences catalog # 554603]: 11μL (10μg/mL stock) + 99μL RPMI

  - IL-4 [BD Biosciences catalog # 554605]: 11μL (10μg/mL stock) + 99μL RPMI

  - IL-6 [BD Biosciences catalog # 550071]: 11μL (10μg/mL stock) + 99μL RPMI

  - IL-10 [BD Biosciences catalog # 554611]: 11μL (10μg/mL stock) + 99μL RPMI

  - TNFα [R&D Systems catalog # 210-TA-020]: 11μL (10μg/mL stock) + 99μL RPMI

- Draw peripheral venous blood into a sodium-heparin blood collection tube (BD catalog # 366480).

- Store blood at room temperature until ready to process.  Process blood within 1 hour of draw (within 30 minutes of draw for best results).

- Dispense 100μL of each stimulation into one of each of the Smart Tubes. Final concentrations will be: LPS (1μg/mL), IFNα/IL-2/IL-4/IL-6/IL-10/TNFα (100ng/mL).

- Invert blood collection tube 5 times to ensure proper cell suspension. Dispense 900μL blood into each Smart Tube.

- Cap each Smart Tube, and gently shake the tube while inverting several times to ensure complete mixing.

- Incubate the Smart Tubes at 37°C for 15 minutes (use a water bath for best results).

- Remove the Smart Tubes from the water bath and break the stabilizer-filled ampoule inside by squeezing and bending the tube.

- Shake the tube gently, but firmly to mix the blood with the stabilizer.

- Incubate blood with stabilizer for 10 minutes at room temperature.

- Immediately freeze the Smart Tubes at -80°C.  If you cannot store the tubes immediately, keep them on ice until you can, but no more than 15 minutes.  Do not allow over-fixation!